## Enclosures Price List
2021 StrongBox Enclosure Price List
STAINLESS STEEL CONTROLLER ENCLOSURES
Stainless Steel Enclosures
Part Number | Description | Weight | Price
SB-18SS | 18" Wide, 36" High, 12" Deep | 75 lbs. | 2324
SB-18DSS | 18" Wide, 36" High, 24" Deep | 120 lbs. | 3469
SB-1852SS | 18" Wide, 52" High, 12" Deep | 90 lbs. | 2812
SB-24SS | 24" Wide, 36" High, 12" Deep | 95 lbs. | 2678
SB-24DSS | 24" Wide, 36" High, 24" Deep | 145 lbs. | 4107
SB-36SS | 36" Wide, 36" High, 12" Deep | 138 lbs. | 3665
Stainless Steel Wall Mount Enclosures
Part Number | Description | Weight | Price
SB-16SSW | 16" Wide, 18" High, 10" Deep, Wall Mount | 35 lbs.* | 1749
SB-18SSW | 18" Wide, 36" High, 12" Deep, Wall Mount | 75 lbs. | 2324
SB-24SSW | 24" Wide, 36" High, 12" Deep, Wall Mount | 95 lbs. | 2678
SB-36SSW | 36" Wide, 36" High, 12" Deep, Wall Mount | 138 lbs. | 3665
Optional Stainless Steel Pedestals
Part Number | Description | Weight | Price
PED-16SS | 16" Wide, 12" High, 15.5" Deep | 20 lbs. | 676
PED-18SS | 18" Wide, 12" High, 10" Deep | 18 lbs. | 650
PED-18DSS | 18" Wide, 12" High, 20" Deep | 23 lbs. | 965
PED-24SS | 24" Wide, 12" High, 10" Deep | 22 lbs. | 758
PED-24DSS | 24" Wide, 12" High, 20" Deep | 26 lbs. | 1013
PED-36SS | 36" Wide, 12" High, 10" Deep | 33 lbs. | 960
PED-16SSW | 16" Wide, 4" High, 8" Deep | 6 lbs. | 455
Stainless Steel Top Entry Enclosures
Part Number | Description | Weight | Price
SB-16SS | 16" Wide, 38" High, 15.5" Deep | 80 lbs. | 2778
SB-22SS | 24" Wide, 38" High, 17" Deep | 125 lbs. | 3552
Service Pedestals
Stainless Steel Service Pedestals - 18" Wide, 52" High, 20" Deep
Part Number | Description | Weight | Price
MPS-A16-10K** | 100 amp meter/100 amp load center, 16 pos. with main 1 phase | 210 lbs. | 4736
MPS-C20-10K** | 200 amp meter/200 amp load center, 20 pos. with main 1 phase | 210 lbs. | 5875
MPS-D18-10K** | 100 amp meter/100 amp load center, 18 pos. with main 3 phase | 210 lbs. | 6594
MPS-E24-10K** | 200 amp meter/200 amp load center, 24 pos. with main 3 phase | 210 lbs. | 7272
MPS-BASE | MPS mounting template 4 bolt | 8 lbs. | 115
Stainless Steel Service Pedestal with Enclosure and Base - 18" Wide, 52" High, 32" Deep
Part Number | Description | Weight | Price
MPE-A16-10K** | 100 amp meter/100 amp load center, 16 pos. with main 1 phase with enclosure | 310 lbs. | 7667
MPE-C20-22K** | 200 amp meter/200 amp load center, 20 pos. with main 1 phase with enclosure | 310 lbs. | 8805
MPE-D18-22K** | 100 amp meter/100 amp load center, 18 pos. with main 3 phase with enclosure | 310 lbs. | 9523
MPE-E24-10K** | 200 amp meter/200 amp load center, 24 pos. with main 3 phase with enclosure | 310 lbs. | 10202
MPE-BASE | Dual Mounting Template 8 bolt | 10 lbs. | 120
Commerical Service Pedestals
Commerical Service Pedestals - 12" Wide, 50" High, 9" Deep
Part Number | Description | Weight | Price
CSP-A107-10K** | 100 amp, 7 circuit breakers, 1 phase | 150 lbs. | Request for Quote
CSP-A107-100K** | 100 amp, 7 circuit breakers, 1 phase | 150 lbs. | Request for Quote
Commercial Service Pedestals - 16" Wide, 48" High, 16.5" Deep
Part Number | Description | Weight | Price
CSP-B108-10K** | 100 amp, 8 circuit breakers, 1 phase | 140 lbs. | Request for Quote
CSP-B116-10K** | 100 amp, 16 circuit breakers, 1 phase | 140 lbs. | Request for Quote
CSP-B116-100K** | 100 amp, 16 circuit breakers, 1 phase | 140 lbs. | Request for Quote
CSP-B216-10K** | 200 amp, 16 circuit breakers, 1 phase | 140 lbs. | Request for Quote
Commercial Service Pedestals - 25" Wide, 48" High, 16.5" Deep
Part Number | Description | Weight | Price
CSP-C116-10K** | (2) 100 amp, 16 circuits, 1 phase | 185 lbs. | Request for Quote
CSP-C116-100K** | (2) 100 amp, 16 circuits, 1 phase | 185 lbs. | Request for Quote
CSP-C216-10K** | (2) 200 amp, 16 circuits, 1 phase | 185 lbs. | Request for Quote
CSP-C216-100K** | (2) 200 amp, 16 circuits, 1 phase | 185 lbs. | Request for Quote
**All meter pedestals available with AIC ratings of 22k, 65k, and higher. Photocell, time clocks, lighting contactors and circuit breakers available factory installed.
METERED CONTROLLER ENCLOSURES
Metered Stainless Steel Enclosures
Part Number | Description | Weight | Price
SB-24SS-240V | 24" Wide, 48" High, 29" Deep - with 240 Volt Meter Socket | 250 lbs. | 6060
Not available for use in California.
LIGHT DUTY CABINETS
Stainless Steel Cabinet
Part Number | Description | Weight | Price
LD-16S | 16.75" Wide, 30" High, 8.25" Deep | 43 lbs. * | 1179
Stainless Steel Wall Mount Cabinets
Part Number | Description | Weight | Price
LD-16SW | 16.75" Wide, 30" High, 8.25" Deep | 48 lbs. * | 1179
LD-18SW | 18" Wide, 18" High, 8" Deep | 31 lbs. * | 1112
OPTIONS
Controller Subassembly
Part Number | Description | Weight | Price
CSA | Controller Subassembly | 5 lbs. * | 362
CSA-52 | Controller Subassembly - 52 Stations | 6 lbs. * | 388
Includes 120 volt, 15 amp, ground fault protected duplex box with receptacle and locking switch. Flexible conduit and condulet. Terminal strips with placards.
OPT-FAN | Thermostatically Controlled Fan | 4 lbs. * | 313
Easily installed and can be adjusted in the field to help maintain desired temperature.
RGVRSS | Rain Switch Enclosure | 2 lbs. * | 180
Designed to protect WCS and Mini-Click Rain Switches from vandalism.
RGVRSS-P | Pole Mount Rain Switch Enclosure | 7 lbs. * | 202
SRSE | Solar Sync Enclosure | 1 lb. * | 156
POLAR BEARIER™ SLIP-ON INSULATING COVER
A simple way to insulate backflow devices to help prevent freezing. This slip-on insulating cover installs in seconds and removes even quicker for backflow maintenance. Provides R-19 insulation, eyelet installed for padlock.
Part Number | Description | Weight | Price
PBB-22 | 22" Long, 24" High, 6" Wide | 1.2 lbs. | 333
PBB-30 | 28" Long, 24" High, 6" Wide | 2.0 lbs. | 422
PBB-45 | 46" Long, 24" High, 6" Wide | 3.5 lbs. | 571
PBB-60 | 56" Long, 24" High, 6" Wide | 4.5 lbs. | 607
PBB-20HP | 24" Long, 46" High, 6" Wide | 3.5 lbs. | 571
PBB-40HP | 40" Long, 36" High, 6" Wide | 4.5 lbs. | 707
PBB-60HP | 60" Long, 36" High, 6" Wide | 5.2 lbs. | 834
PBB-75HP | 72" Long, 36" High, 6" Wide | 6.0 lbs. | 1013
PBB-90HP | 90" Long, 36" High, 6" Wide | 7.5 lbs. | 1128
Aluminum Low Profile Backflow Enclosures (Aluminum Covers - Low Profile)
Part Number | Description | Weight | Price
SBBC-22AL | 22" Long, 30.5" High, 16" Wide | 43 lbs. | 1057
SBBC-30AL | 30" Long, 30.5" High, 16" Wide | 49 lbs. | 1223
SBBC-45AL | 45" Long, 30.5" High, 16" Wide | 62 lbs. | 1507
SBBC-52AL | 52" Long, 30" High, 22" Wide | 73 lbs. | 2678
SBBC-60AL | 60" Long, 30.5" High, 16" Wide | 82 lbs. | 2186
3/4" through 2" Backflow Devices
Aluminum High Profile Backflow Enclosures (Aluminum Covers - High Profile)
Part Number | Description | Weight | Price
SBBC-40ALHP | 40" Long, 39" High, 24" Wide | 88 lbs. | 3093
SBBC-60ALHP | 60" Long, 39" High, 24" Wide | 118 lbs. | 3442
SBBC-75ALHP | 75" Long, 39" High, 24" Wide | 128 lbs. | 3668
SBBC-90ALHP | 90" Long, 39" High, 24" Wide | 158 lbs. | 4249
2-1/2" through 6" Backflow Devices
Insulated Low Profile Backflow Enclosures (Aluminum Insulated Covers - Low Profile)
Part Number | Description | Weight | Price
SBBC-22ALI | 22" Long, 30.5" High, 16" Wide | 44 lbs. | 1327
SBBC-30ALI | 30" Long, 30.5" High, 16" Wide | 50 lbs. | 1643
SBBC-45ALI | 45" Long, 30.5" High, 16" Wide | 63 lbs. | 2075
ABBC-60ALI | 60" Long, 30.5" High, 16" Wide | 88 lbs. | 2791
3/4" through 2" Backflow Devices
Insulated High Profile Backflow Enclosures (Aluminum Insulated Covers - High Profile)
Part Number | Description | Weight | Price
SBBC-40ALHPI | 40" Long, 39" High, 24" Wide | 90 lbs. | 3768
SBBC-60ALHPI | 60" Long, 39" High, 24" Wide | 124 lbs. | 4187
SBBC-75ALHPI | 75" Long, 39" High, 24" Wide | 136 lbs. | 4446
SBBC-90ALHPI | 90" Long, 39" High, 24" Wide | 166 lbs. | 4632
2-1/2" through 6" Backflow Devices
SPECIALTY ALUMINUM ENCLOSURES
Specialty Aluminum Enclosrues - High Profile
Part Number | Description | Weight | Price
SBBC-40WALHP | 40" Long, 39" High, 28" Wide (extra wide SBBC-40ALHP for Specialty Applications) | 95 lbs. | 3063
PE-40AL | 40" Long, 39" High, 38" Wide | 98 lbs. | 3162
PE-60AL | 60" Long, 39" High, 38" Wide (Enclosure for Pumps) | 128 lbs. | 3668
SMOOTH TOUCH BACKFLOW COVERS
Stainless Steel - Single Piece
Part Number | Description | Weight | Price
SBBC-22SS | 22" Long, 28.5" High, 17.75" Wide | 44 lbs. | 1749
SBBC-30SS | 31.5" Long, 28.5" High, 17.75" Wide | 53 lbs. | 2019
SBBC-45SS | 46.5" Long, 28.5" High, 17.75" Wide | 61 lbs. | 2597
3/4" through 2" Backflow Devices
Stainless Steel - Two Pieces
Part Number | Description | Weight | Price
SBBC-20SS | 20" Long, 48" High, 17" Wide | 62 lbs. | 2595
SBBC-40SS | 39.5" Long, 39" High, 25.5" Wide | 90 lbs. | 3990
SBBC-75SS | 76.5" Long, 39" High, 25.5" Wide | 120 lbs. | 5522
2½" through 4" Backflow Devices
Powder Coated - Single Piece
Part Number | Description | Weight | Price
SBBC-22CR | 22" Long, 28.5" High, 17.75" Wide | 44 lbs. | 1072
SBBC-30CR | 31.5" Long, 28.5" High, 17.75" Wide | 53 lbs. | 1213
SBBC-45CR | 46.5" Long, 28.5" High, 17.75" Wide | 61 lbs. | 1584
3/4" through 2" Backflow Devices
Powder Coated - Two Piece
Part Number | Description | Weight | Price
SBBC-40CR | 39.5" Long, 39" High, 25.5" Wide | 90 lbs. | 2409
SBBC-75CR | 76.5" Long, 39" High, 25.5" Wide | 120 lbs. | 3452
2½" through 4" Backflow Devices
EXPANDED METAL BACKFLOW COVERS
Powder Coated Low Profile Single Piece
Part Number | Description | Weight | Price
BC-30CR | 30" Long, 24" High, 12" Wide | 45 lbs. | 995
BC-45CR | 45" Long, 30" High, 18" Wide | 73 lbs. | 1226
Powder Coated High Profile Two Piece
Part Number | Description | Weight | Price
BC-75CR | 75" Long, 42" High, 30" Wide | 160 lbs. | 2048
QUICKPAD®
QuickPad for StrongBox Controller Pedestals
Part Number | Description | Weight | Price
QP-16 | QuickPad for SB-16; 28.5" Wide, 18.5" Deep | 37 lbs. | 593
QP-18 | QuickPad for SB-18; 28.5" Wide, 18.5" Deep | 37 lbs. | 593
QP-18D | QuickPad for SB-18D; 28.5" Wide, 28.5" Deep | 42 lbs. | 700
QP-22 | QuickPad for SB-22; 28.5" Wide, 28.5" Deep | 42 lbs. | 700
QP-24 | QuickPad for SB-24; 28.5" Wide, 18.5" Deep | 37 lbs. | 593
QP-24D | QuickPad for SB-24D; 28.5" Wide, 28.5" Deep | 42 lbs. | 700
QP-M | QuickPad for Metered Enclosure; 28.5" Wide, 28.5" Deep | 42 lbs. | 700
QP-MPS | QuickPad for Metered Pedestal; 34.0" Wide, 28.5" Deep | 51 lbs. | 700
QP-MPE | QuickPad for Metered Pedestal; 34.0" Wide, 28.5" Deep | 51 lbs. | 769
QuickPad for StrongBox Light Duty Cabinets
Part Number | Description | Weight | Price
QP-LD16 | QuickPad for LD-16; 20" Wide, 17" Deep | 17 lbs.* | 444
QuickPad for StrongBox Backflow Enclosures
Part Number | Description | Weight | Price
QP-20BF | QuickPad for SBBC-20 Series Backflow Enclosures; 32" Wide, 19" Deep | 37 lbs. | 593
QP-22BF | QuickPad for SBBC-22 Series Backflow Enclosures; 32" Wide, 19" Deep | 37 lbs. | 593
QP-30BF | QuickPad for SBBC-30 Series Backflow Enclosures; 32" Wide, 19" Deep | 37 lbs. | 593
QP-45BF | QuickPad for SBBC-45 Series Backflow Enclosures; 49" Wide, 19" Deep | 42 lbs. | 643

## Tree and Sprinkler Price List
2021 StrongBox Tree and Sprinkler Products Price List
Pipe Stabilizers
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Pipe Stabilizers are used between the sprinkler heads to control the movement of the pipe. The vinyl covered double "J" secures pipe to ground. The verticle striking area provides good penetration of even the toughest soils and minimizes the above ground exposure. Since the hammer does not touch the rounded area of the "J" hook, damage is avoided.
PS 18 | 18" Pipe Stabilizer | 5 | 30 | 46 lbs. | 7.78
Sprinkler Stabilizers
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Sprinkler Stabilizers are used to secure pipe and sprinkler heads to prevent movement, vandalism and damage. The vinyl covered double "J" secures the pipe to the ground and the steel shaft at the top gives the sprinkler head additional support. Allows good penetration even in tough soils. No more broken pipes from hammers slipping off rounded striking areas.
SS 24 | 24" Sprinkler Stabilizer | 5 | 20 | 35 lbs. | 9.24
Sprinkler Ties
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Sprinkler Ties are used to secure the spinkler to the Spinker Stabilizer. The unique design allows fast installation and produces a strong bond between the stake and the sprinkler head.
ST 9 | 9" Sprinkler Tie for Shrub Heads | 50 | 500 | 13 lbs. | 0.85
ST 12 | 12" Sprinkler Tie for Pop-ups | 50 | 600 | 16 lbs. | 0.97
Ratchet Tool for Ties
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Ratchet Tool is used to install Sprinkler Ties. It twists the Sprinkler Tie tightly against the stake, which reduces labor by 50% or more.
RT | Ratchet Tool for Ties | 1 | 1 | 1 lb. | 80.22
Cinch-Tie™
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Cinch-Tie™ is used to effectively single or double stake a tree. Made from strong, flexible vinyl with UV inhibitors.
CT 24 | Cinch-Tie 24" for 15 Gal. - Adjustable to 9" | 100 | 500 | 38 lbs. | 0.85
CT 32 | Cinch-Tie 32" for 24" Box - Adjustable to 13" | 100 | 500 | 50 lbs. | 1.12
Twist-Brace™
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Twist-Brace™ is used in high wind conditions. The steel loop is covered with quality vinyl tubing. Reusable, fast and easy to install.
TB 24 | Twist-Brace 24" for 15 Gal. to 24" Box - 4 ½" Loop | 5 | 25 | 35 lbs. | 9.84
TB 36 | Twist-Brace 36" for 36" Box - 4½" Loop | 5 | 10 | 26 lbs. | 19.69
Hose & Wire
Part Number | Description | Bundle Qty. | Box Qty. | Box Weight | Price |  | Hose & Wire is made from quality hose and 12 gauge galvanized wire, precut in 27", 36" or 48" lengths. Convenient and econimcal to use.
HW 36 | Hose & Wire 36", for 24" Box - 10½" Hose, 36" Wire | 100 | 200 | 65 lbs. | 0.97
™