## Sheet1
Suggested Enclosures are based off Back Flow Manufactuer sizes and do not take into consideration local installation requirements.
Apollo
4A-200 Series | [6 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 12.75 | 20 | 3 | 5 | 4 | 21.75 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1" | 14.75 | 20 | 3 | 5 | 5 | 24.75 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/4" | 18.75 | 22 | 3 | 5 | 5.5 | 29.25 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
1 1/2" | 18.75 | 22 | 3 | 5 | 6 | 29.75 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
2" | 20.25 | 23 | 3 | 5 | 7.5 | 32.75 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
FEBCO
825Y & LF860 | [6 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 12 | 19 | 3 | 5 | 4 | 21 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1" | 12.75 | 20 | 3 | 5 | 5 | 22.75 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/4" | 16 | 22 | 3 | 5 | 5.5 | 26.5 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/2" | 17 | 22 | 3 | 5 | 6 | 28 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
2" | 17.75 | 22 | 3 | 5 | 7.5 | 30.25 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
LF860 | [6 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
2 1/2" | 40.75 | 38.5 | n/a | n/a | 17 | 57.75 | SBBC-75ALHP | SBBC-75SS & CR | BC-75CR
3" | 42 | 44.25 | n/a | n/a | 18.5 | 60.5 | N/A | N/A | N/A
4" | 46.25 | 46.5 | n/a | n/a | 22 | 68.25 | N/A | N/A | N/A
6" | 56 | 53.25 | n/a | n/a | 27 | 83 | N/A | N/A | N/A
825YA | [6 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 10 | 17 | n/a | n/a | n/a | 10 | SBBC-22AL | SBBC-22SS & CR | BC-30CR
1" | 10.25 | 18 | n/a | n/a | n/a | 10.25 | SBBC-22AL | SBBC-22SS & CR | BC-30CR
1 1/2" | 14.25 | 19 | n/a | n/a | n/a | 14.25 | SBBC-22AL | SBBC-22SS & CR | BC-30CR
2" | 15 | 20 | n/a | n/a | n/a | 15 | SBBC-22AL | SBBC-22SS & CR | BC-30CR
LF880V | [6 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
2 1/2" | 25.5 | 32 | n/a | n/a | n/a | 25.5 | SBBC-40ALHP | SBBC-40SS & CR | BC-75CR
3" | 25.75 | 32 | n/a | n/a | n/a | 25.75 | SBBC-40ALHP | SBBC-40SS & CR | BC-75CR
4" | 28 | 36 | n/a | n/a | n/a | 28 | SBBC-40ALHP | SBBC-40SS & CR | BC-75CR
6" | 32.25 | 39 | n/a | n/a | n/a | 32.25 | N/A | N/A | N/A
Watts
U009AQT | M2AQT | [5 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 16.25 | 22 | n/a | n/a | n/a | 16.25 | SBBC-22AL | SBBC-22SS & CR | BC-30CR
1" | 17.5 | 23 | n/a | n/a | n/a | 17.25 | SBBC-22AL | SBBC-22SS & CR | BC-30CR
1 1/2" | 20.5 | 24 | n/a | n/a | n/a | 20.5 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
2" | 25.5 | 24 | n/a | n/a | n/a | 25.5 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
U009QT | M2QT | [5 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 13.75 | 22 | 3 | 5 | 4 | 23 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1" | 17.5 | 23 | 3 | 5 | 5 | 27.5 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/4" | 24.5 | 24 | 3 | 5 | 5.5 | 35 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
1 1/2" | 25.5 | 24 | 3 | 5 | 6 | 36.5 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
2" | 27.5 | 24 | 3 | 5 | 7.5 | 40 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
909 | RPDA | [5 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
2 1/2" | 42.25 | 34 | n/a | n/a | 17 | 59.25 | SBBC-75ALHP | SBBC-75SS & CR | BC-75CR
3" | 42.25 | 37 | n/a | n/a | 18.5 | 60.75 | SBBC-75ALHP | SBBC-75SS & CR | BC-75CR
4" | 55.25 | 41 | n/a | n/a | 22 | 77.25 | N/A | N/A | BC-75CR
6" | 66 | 49 | n/a | n/a | 27 | 93 | N/A | N/A | N/A
Wilkins
375 | XL/VSR | [5 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 12.75 | 20 | 3 | 5 | 4 | 21.75 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1" | 15.75 | 20.5 | 3 | 5 | 5 | 25.75 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/4" | 20.5 | 22 | 3 | 5 | 5.5 | 31 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
1 1/2" | 21.75 | 23 | 3 | 5 | 6 | 32.75 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
2" | 24.25 | 25 | 3 | 5 | 7.5 | 36.75 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
2 1/2" | 31 | 33 | n/a | n/a | 17 | 48 | SBBC-60ALHP | SBBC-75SS & CR | BC-75CR
3" | 32 | 34 | n/a | n/a | 18.5 | 50.5 | SBBC-60ALHP | SBBC-75SS & CR | BC-75CR
4" | 38 | 38 | n/a | n/a | 22 | 60 | SBBC-75ALHP | SBBC-75SS & CR | BC-75CR
6" | 45 | 44 | n/a | n/a | 27 | 72 | N/A | N/A | N/A
975 | XL/XL2V | [5 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
3/4" | 15 | 22 | 3 | 5 | 4 | 24 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1" | 16 | 23 | 3 | 5 | 5 | 26 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/4" | 17 | 24 | 3 | 5 | 5.5 | 27.5 | SBBC-30AL | SBBC-30SS & CR | BC-30CR
1 1/2" | 17.5 | 24 | 3 | 5 | 6 | 28.5 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
2" | 18.5 | 24 | 3 | 5 | 7.5 | 31 | SBBC-45AL | SBBC-45SS & CR | BC-45CR
475 | v | [5 empty] | Alum | Smooth | Expanded
| Length | Installed | nip | nip total | elbow total | Total inches
2 1/2" | 33 | 34 | n/a | n/a | n/a | 34 | SBBC-40ALHP | SBBC-40SS & CR | BC-75CR
3" | 34 | 36 | n/a | n/a | n/a | 36 | SBBC-40ALHP | SBBC-40SS & CR | BC-75CR
4" | 42 | 36 | n/a | n/a | n/a | 36 | N/A | N/A | N/A
6" | 48 | 38 | n/a | n/a | n/a | 38 | N/A | N/A | N/A
Inside dimensions remain the same