## Enclosures Price List
StrongBox Enclosure Price List Effective January 1, 2025
NOTE: Prices include mounting hardware. Freight Prepaid on $7500 net orders to one location. (*) CAN BE SHIPPED UPS
HEAVY DUTY CONTROLLER ENCLOSURES
Stainless Steel Front Entry Enclosures
Part Number | Description | Weight | Price
SB-18SS | 19" Wide, 36" High, 12" Deep ¦ Single Door Entry | 75 lbs. | 3316
SB-18DSS | 19" Wide, 36" High, 24" Deep ¦ Two Door Dual Entry | 120 lbs. | 4950
SB-1852SS | 18" Wide, 52" High, 12" Deep ¦ Single Door Entry | 90 lbs. | 4009
SB-24SS | 25" Wide, 36" High, 12" Deep ¦ Single Door Entry | 95 lbs. | 3821
SB-24DSS | 25" Wide, 36" High, 24" Deep ¦ Two Door Dual Entry | 145 lbs. | 5858
SB-36SS | 37" Wide, 36" High, 12" Deep ¦ Two Door Entry | 138 lbs. | 5229
Stainless Steel Wall Mount Enclosures
Part Number | Description | Weight | Price
SB-16SSW | 16" Wide, 18" High, 11" Deep ¦ Single Door | 35 lbs.* | 2495
SB-18SSW | 19" Wide, 36" High, 12" Deep ¦ Single Door | 75 lbs. | 3316
SB-24SSW | 25" Wide, 36" High, 12" Deep ¦ Single Door | 95 lbs. | 3821
SB-36SSW | 37" Wide, 36" High, 12" Deep ¦ Two Door | 138 lbs. | 5229
Stainless Steel Top Entry Enclosures
Part Number | Description | Weight | Price
SB-16SS | 16" Wide, 38" High, 17" Deep ¦ Hinged Flip Top Entry | 80 lbs. | 3964
SB-22SS | 25" Wide, 38" High, 19" Deep ¦ Hinged Flip Top Entry | 125 lbs. | 5068
LIGHT DUTY CABINETS
Stainless Steel Cabinet
Part Number | Description | Weight | Price
LD-16S | 17" Wide, 30" High, 8" Deep ¦ Single Drop in Door | 43 lbs. * | 1683
LD-16T | 17" Wide, 19" High, 9" Deep ¦ Single Door Top Mount | 25 lbs.* | 1586
Stainless Steel Wall Mount Cabinets
Part Number | Description | Weight | Price
LD-16SW | 17" Wide, 30" High, 8" Deep ¦ Single Door | 48 lbs. * | 1683
LD-18SW | 19" Wide, 19" High, 8" Deep ¦ Single Door | 31 lbs. * | 1587
CONTROL ENCLOSURE ACCESSORIES
Controller Add-Ons
Part Number | Description | Weight | Price
CSA | Controller Subassembly - 36 Stations | 5 lbs. * | 517
CSA-52 | Controller Subassembly - 52 Stations | 6 lbs. * | 554
OPT-FAN | Thermostatically Controlled Fan Easily installed and can be adjusted in the field to help maintain desired temperature. | 4 lbs. * | 448
RGVRSS | Rain Switch Enclosure Designed to protect WCS and Mini-Click Rain Switches from vandalism. | 2 lbs. * | 257
RGVRSS-P | Pole Mount Rain Switch Enclosure | 7 lbs. * | 289
SRSE | Solar Sync Enclosure | 1 lb. * | 223
Stainless Steel Pedestal Riser
Part Number | Description | Weight | Price
PED-16SS | 16" Wide, 12" High, 15" Deep ¦ Used for SB-16SS | 20 lbs. | 966
PED-18SS | 19" Wide, 12" High, 10" Deep ¦ Used for SB-18SS | 18 lbs. | 927
PED-18DSS | 19" Wide, 12" High, 19" Deep ¦ Used for SB-18DSS | 23 lbs. | 1377
PED-24SS | 25" Wide, 12" High, 10" Deep ¦ Used for SB-24SS | 22 lbs. | 1082
PED-24SS-240V | 25" Wide, 12" High, 24" Deep ¦ Used for SB-24SS-240V | 22 lb. | 1446
PED-24DSS | 25" Wide, 12" High, 19" Deep ¦ Used for SB-24DSS | 26 lbs. | 1446
PED-36SS | 37" Wide, 12" High, 10" Deep ¦ Used for SB-36SS | 33 lbs. | 1370
PED-16SSW | 16" Wide, 4" High, 8" Deep ¦ Used for SB-16SSW | 6 lbs. | 650
PED-LD16 | 17" Wide, 12" High, 8" Deep ¦ Used for LD-16S | 18 lbs. | 730
PT-TEMP1852 | 18" Wide, 9" Deep | 2 lbs. | 95
Enclosure Backboards & Trays
Part Number | Description | Weight | Price
BB-18SS | For SB-18SS ¦ SB-18SSW Enclosures | 10 lbs. | 190
BB-1852SS | For SB-1852SS Front Entry Enclosure | 12 lbs. | 320
BB-24SS | For SB-24SS Front Entry Enclosure | 12 lbs. | 206
BB-18SS(x2) | For SB-36SS ¦ SB-36SSW Enclosures | 20 lbs. | 380
BB-16SS | For SB-16SSW Wall Mount Enclosure | 6 lbs. | 160
BB-22SS | For SB-22SS ¦ SB-22SSW Enclosures | 14 lbs. | 202
BB-16SSW | For SB-16-SSW Wall Mount Enclosure | 4 lbs. | 150
BB-16LD | For LD-16S Light Duty Cabinet | 7 lbs. | 160
BB-18LD | For LD-18SW Wall Mount Light Duty Cabinet | 5 lbs. | 150
BB-16TLD | For LD-16T Wall Mount Light Duty Cabinet | 5 lbs. | 108
PT-TRAY16-U | Tray for SB-16SS | 3 lbs. | 154
PT-22TRAY | Tray for SB-22SS | 7 lbs. | 197
ALUMINUM BACKFLOW ENCLOSURES
Aluminum Front Entry Backflow Enclosures
Part Number | Description | Weight | Price
SBBC-22AL | 23" Wide, 30" High, 15" Deep ¦ Single Door | 43 lbs. | 1440
SBBC-30AL | 30" Wide, 30" High, 15" Deep ¦Single Door | 49 lbs. | 1666
SBBC-45AL | 45" Wide, 30" High, 15" Deep ¦ Single Door | 62 lbs. | 2054
SBBC-52AL | 52" Wide, 31" High, 22" Deep ¦ Single Door | 73 lbs. | 3648
3/4" through 2" Backflow Devices
Aluminum Clamshell Entry Backflow Enclosures
Part Number | Description | Weight | Price
SBBC-60AL | 60" Wide, 31" High, 15" Deep ¦ Clamshell Two Piece | 82 lbs. | 2978
SBBC-40ALHP | 41" Wide, 39" High, 24" Deep ¦ Clamshell Two Piece | 88 lbs. | 4213
SBBC-60ALHP | 61" Wide, 39" High, 24" Deep ¦ Clamshell Two Piece | 118 lbs. | 4688
SBBC-75ALHP | 76" Wide, 39" High, 24" Deep ¦ Clamshell Two Piece | 128 lbs. | 4997
SBBC-90ALHP | 91" Wide, 39" High, 24" Deep ¦ Clamshell Two Piece | 158 lbs. | 5788
2-1/2" through 6" Backflow Devices
Insulated Aluminum Front Entry Backflow Enclosures
Part Number | Description | Weight | Price
SBBC-22ALI | 23" Wide, 30" High, 15" Deep ¦ Insulated Single Door | 44 lbs. | 1809
SBBC-30ALI | 30" Wide, 30" High, 15" Deep ¦ Insulated Single Door | 50 lbs. | 2239
SBBC-45ALI | 45" Wide, 30" High, 15" Deep ¦ Insulated Single Door | 63 lbs. | 2827
3/4" through 2" Backflow Devices
Insulated Aluminum Clamshell Entry Backflow Enclosures
Part Number | Description | Weight | Price
SBBC-60ALI | 60" Wide, 31" High, 15" Deep ¦ Insulated Clamshell Two Piece | 88 lbs. | 3802
SBBC-40ALHPI | 41" Wide, 39" High, 24" Deep ¦ Insulated Clamshell Two Piece | 90 lbs. | 5133
SBBC-60ALHPI | 61" Wide, 39" High, 24" Deep ¦ Insulated Clamshell Two Piece | 124 lbs. | 5703
SBBC-75ALHPI | 76" Wide, 39" High, 24" Deep ¦ Insulated Clamshell Two Piece | 136 lbs. | 6056
SBBC-90ALHPI | 91" Wide, 39" High, 24" Deep ¦ Insulated Clamshell Two Piece | 166 lbs. | 6310
2-1/2" through 6" Backflow Devices
ALUMINUM PUMP ENCLOSURES
Aluminum Pump Enclosures
Part Number | Description | Weight | Price
SBBC-40WALHP | 41" Wide, 39" High, 28" Deep (extra wide SBBC-40ALHP for Specialty Applications) | 95 lbs. | 4172
PE-40AL | 41" Wide, 39" High, 38" Deep ¦ Clamshell Two Piece | 98 lbs. | 4307
PE-60AL | 61" Wide, 39" High, 38" Deep ¦ Clamshell Two Piece | 128 lbs. | 4997
SMOOTH TOUCH BACKFLOW CAGES
Stainless Steel - Front Entry
Part Number | Description | Weight | Price
SBBC-22SS | 23" Wide, 28" High, 18" Deep ¦ Single Door | 44 lbs. | 2620
SBBC-30SS | 30" Wide, 28" High, 18" Deep ¦ Single Door | 53 lbs. | 3025
SBBC-45SS | 45" Wide, 28" High, 18" Deep ¦ Single Door | 61 lbs. | 3891
SBBC-20SS | 21" Wide, 49" High, 18" Deep ¦ Single Door | 62 lbs. | 3888
3/4" through 2" Backflow Devices
Stainless Steel - Clamshell Entry
Part Number | Description | Weight | Price
SBBC-40SS | 45" Wide, 39" High, 26" Deep ¦ Clamshell Two Piece | 90 lbs. | 5978
SBBC-60SS | 61" Wide, 39" High, 26" Deep ¦ Clamshell Two Piece | 111 lbs. | 7042
SBBC-75SS | 78" Wide, 39" High, 26" Deep ¦ Clamshell Two Piece | 120 lbs. | 8272
2½" through 4" Backflow Devices
Powder Coated Cold Rolled Steel - Front Entry
Part Number | Description | Weight | Price
SBBC-22CR | 23" Wide, 28" High, 18" Deep ¦ Single Door | 44 lbs. | 1487
SBBC-30CR | 30" Wide, 28" High, 18" Deep ¦ Single Door | 53 lbs. | 1683
SBBC-45CR | 45" Wide, 28" High, 18" Deep ¦ Single Door | 61 lbs. | 2198
3/4" through 2" Backflow Devices
Powder Coated Cold Rolled Steel - Clamshell Entry
Part Number | Description | Weight | Price
SBBC-40CR | 45" Wide, 39" High, 26" Deep ¦ Clamshell Two Piece | 90 lbs. | 3608
SBBC-60CR | 61" Wide, 39" High, 26" Deep ¦ Clamshell Two Piece | 111 lbs. | 4458
SBBC-75CR | 78" Wide, 39" High, 26" Deep ¦ Clamshell Two Piece | 120 lbs. | 5172
2½" through 4" Backflow Devices
EXPANDED METAL BACKFLOW CAGES
Powder Coated Front Entry
Part Number | Description | Weight | Price
BC-30CR | 30" Wide, 24" High, 12" Deep ¦ One Piece | 45 lbs. | 1379
BC-45CR | 45" Wide, 30" High, 18" Deep ¦ One Piece | 73 lbs. | 1700
Powder Coated Clamshell
Part Number | Description | Weight | Price
BC-75CR | 75" Wide, 42" High, 30" Deep ¦ Clamshell Two Piece | 160 lbs. | 2841
GUARDIAN CAGES
Powder Coated Cold Rolled Steel - Front Entry
Part Number | Description | Weight | Price
GC-24 | 24" Wide, 26" High, 13" Deep ¦ Single Door | 35 lbs. | 959
GC-30 | 30" Wide, 26" High, 13" Deep ¦ Single Door | 37 lbs. | 1088
GC-36 | 36" Wide, 26" High, 13" Deep ¦ Single Door | 40 lbs. | 1172
POLAR BEARIER SLIP-ON INSULATING COVER
Part Number | Description | Weight | Price
PBB-22 | 22" Wide, 24" High, 6" Deep ¦ Used for 22 inch Backflow | 1.2 lbs. | 393
PBB-30 | 28" Wide, 24" High, 6" Deep ¦ Used for 28 inch Backflow | 2.0 lbs. | 498
PBB-45 | 46" Wide, 24" High, 6" Deep ¦ Used for 46 inch Backflow | 3.5 lbs. | 674
PBB-60 | 56" Wide, 24" High, 6" Deep ¦ Used for 56 inch Backflow | 4.5 lbs. | 717
PBB-20HP | 24" Wide, 46" High, 6" Deep ¦ used for 24 inch Backflow | 3.5 lbs. | 674
PBB-40HP | 40" Wide, 36" High, 6" Deep ¦ Used for 40 inch Backflow | 4.5 lbs. | 834
PBB-60HP | 60" Wide, 36" High, 6" Deep ¦ Used for 60 inch Backflow | 5.2 lbs. | 984
PBB-75HP | 72" Wide, 36" High, 6" Deep ¦ Used for 72 inch Backflow | 6.0 lbs. | 1195
PBB-90HP | 90" Wide, 36" High, 6" Deep ¦ Used for 90 inch Backflow | 7.5 lbs. | 1330
METER PEDESTAL (MPS/MPE)
Stainless Steel Service Pedestal (MPS) - 18" Wide, 52" High, 20" Deep
Part Number | Description | Weight | Price
MPS-11016-10 | 100 amp, 1 phase, 10,000 AIC, 16 positions | 210 lbs. | 6756
MPS-12016-22 | 200 amp, 1 phase, 22,000 AIC, 16 positions | 210 lbs. | 7519
MPS-32024-65 | 200 amp, 3 phase, 65,000 AIC, 24 positions | 210 lbs. | 11357
MPS-BASE | MPS mounting template 4 bolt | 8 lbs. | 165
Stainless Steel Service Pedestal with Enclosure and Base (MPE) - 18" Wide, 52" High, 32" Deep
Part Number | Description | Weight | Price
MPE-11016-10 | 100 amp, 1 phase, 10,000 AIC, 16 positions | 310 lbs. | 10938
MPE-12016-22 | 200 amp, 1 phase, 22,000 AIC, 16 positions | 310 lbs. | 11701
MPE-32024-65 | 200 amp, 3 phase, 65,000 AIC, 24 positions | 310 lbs. | 15539
MPE-BASE | Dual Mounting Template 8 bolt | 10 lbs. | 173
XL SERVICE PEDESTAL (SSP)
Stainless Steel XL Meter Pedestal (SSP) - 26" Wide, 50" High, 17" Deep
Part Number | Description | Weight | Price
SSP-21018-14 | 100 amp, 1 phase, 14,000 AIC, 18 positions | 140 lbs. | 8630
SSP-22030-65 | 100 amp, 1 phase, 65,000 AIC, 30 positions | 140 lbs. | 9720
SSP-61018-14 | 100 amp, 3 phase, 14,000 AIC, 18 positions | 140 lbs. | 8780
SSP-61030-35 | 100 amp, 3 phase, 35,000 AIC, 30 positions | 140 lbs. | 9030
SSP-62030-35 | 200 amp, 3 phase, 35,000 AIC, 30 positions | 140 lbs. | 10950
CSP-B BASE | CSP-B mounting template 4 bolt | 8 lbs. | 166
COMMERCIAL SERVICE PEDESTAL (CSP)
Stainless Steel Commercial Meter Pedestals (CSP) - 16" Wide, 48" High, 16" Deep
Part Number | Description | Weight | Price
CSP-11008-10 | 100 amp, 1 phase, 10,000 AIC, 8 positions | 140 lbs. | 4790
CSP-11016-10 | 100 amp, 1 phase, 10,000 AIC, 16 positions | 140 lbs. | 4842
CSP-11016-65 | 100 amp, 1 phase, 65,000 AIC, 16 positions | 140 lbs. | 5346
CSP-12016-10 | 200 amp, 1 phase, 10,000 AIC, 16 positions | 140 lbs. | 5543
CSP-12016-65 | 200 amp, 1 phase, 65,000 AIC, 16 positions, | 140 lbs. | 6001
CSP-B BASE | CSP-B mounting template 4 bolt | 8 lbs. | 166
DUAL SERVICE PEDESTAL (DSP)
Stainless Steel Dual Meter Pedestals (DSP)- 26" Wide, 50" High, 17" Deep
Part Number | Description | Weight | Price
DSP-11008-10 | 100 amp, 1 phase, 10,000 AIC, 8 positions | 140 lbs. | 8580
DSP-11008-22 | 100 amp, 1 phase, 22,000 AIC, 8 positions | 140 lbs. | 8622
DSP-11008-65 | 100 amp, 1 phase, 65,000 AIC, 8 positions | 140 lbs. | 9006
DSP-12008-10 | 200 amp, 1 phase, 10,000 AIC, 8 positions | 140 lbs. | 9568
DSP-12008-22 | 200 amp, 1 phase, 22,000 AIC, 8 positions | 140lbs. | 10275
DSP-12008-65 | 200 amp, 1 phase, 65,000 AIC, 8 positions | 140 lbs. | 10608
METERED ENCLOSURE (SB-24SS-240V)
Metered Stainless Steel Enclosures - 25" Wide, 48" High, 29 Deep
Part Number | Description | Weight | Price
SB-24SS-240V | 100 amp, 1 phase with 240 Volt Meter Socket | 250 lbs. | 8644
Not available for use in California.
NON-METERED ENCLOSURE (PWP)
Stainless Steel Non-Metered Enclosure (PWP) - 17" Wide, 31" High, 17" Deep
Part Number | Description | Weight | Price
PWP-11016-10 | 100 amp, 1 phase, 10,000 AIC, 16 positions | 140 lbs. | 3182
PWP-11016-22 | 100 amp, 1 phase, 22,000 AIC, 16 positions | 140 lbs. | 4077
PWP-11016-65 | 100 amp, 1 phase, 65,000 AIC, 16 positions | 140 lbs. | 3827
PWP-12016-22 | 200 amp, 1 phase, 22,000 AIC, 16 positions | 140 lbs. | 4451
PWP-12016-65 | 200 amp, 1 phase, 65,000 AIC, 16 positions | 140 lbs. | 4576
METER PEDESTAL ADD-ONS
Electrical Meter Accessories
Part Number | Description | Weight | Price
OPT-PECELL | Photocell with bypass switch ¦ Used for MPS, MPE, and PWP | N/A | 210
OPT-PECELL-CSP | Photocell with bypass switch ¦ Used for CSP, DSP, and SSP | N/A | 210
SE-A10081 | Time Clock - 30 amp, 1 channel | N/A | 428
SE-A10082 | Time Clock - 30 amp, 2 channel | N/A | 520
SE-A10083 | Time Clock - 30 amp, 4 channel | N/A | 725
SE-E20004 | GE Contactor - 30 amp, 120 volt, 2 poles | N/A | 276
SE-E20005 | GE Contactor - 30 amp, 120 volt, 4 poles | N/A | 418
SE-E20006 | GE Contactor - 30 amp, 120 volt, 8 poles | N/A | 566
SE-E20013 | GE Contactor - 30 amp, 120 volt, 6 poles | N/A | 558
SE-E20015 | GE Contactor - 30 amp, 120 volt, 12 poles | N/A | 972
QUICK-PAD®
QuickPad for StrongBox Enclosures
Part Number | Description | Weight | Price
QP-16 | 36" Wide, 16" High, 22" Deep ¦ Used for SB-16SS | 37 lbs. | 769
QP-18 | 36" Wide, 16" High, 22" Deep ¦ Used for SB-18SS | 37 lbs. | 769
QP-18D | 36" Wide, 16" High, 29" Deep ¦ Used for SB-18DSS | 42 lbs. | 909
QP-22 | 36" Wide, 16" High, 29" Deep ¦ Used for SB-22SS | 42 lbs. | 909
QP-24 | 36" Wide, 16" High, 22" Deep ¦ Used for SB-24SS | 37 lbs. | 769
QP-24D | 36" Wide, 16" High, 29" Deep ¦ Used for SB-24DSS | 42 lbs. | 909
QP-LD16 | 21" Wide, 16" High, 17" Deep ¦ Used for LD-16S | 17 lbs. | 575
QuickPad for StrongBox Pedestals
Part Number | Description | Weight | Price
QP-M | 35" Wide, 15" High, 30" Deep ¦ Used for 24/240V pedestal | 42 lbs. | 909
QP-CSP | 38" Wide, 18" High, 25" Deep ¦ Used for CSP, PWP pedestal | 37 lbs. | 769
QP-MPS | 38" Wide, 18" High, 25" Deep ¦ Used for MPS pedestal | 51 lbs. | 909
QP-MPE | 38" Wide, 18" High, 25" Deep ¦ Used for MPE pedestal | 51 lbs. | 998
QuickPad for StrongBox Backflow Enclosures
Part Number | Description | Weight | Price
QP-20BF | 36" Wide, 16" High, 22" Deep ¦ Used for SBBC-20 | 37 lbs. | 769
QP-22BF | 36" Wide, 16" High, 22" Deep ¦ Used for SBBC-22 series | 37 lbs. | 769
QP-30BF | 36" Wide, 16" High, 22" Deep ¦ Used for SBBC-30 series | 37 lbs. | 769
QP-45BF | 53" Wide, 16" High, 22" Deep ¦ Used for SBBC-45 series | 42 lbs. | 834

## Tree and Sprinkler Price List
StrongBox Tree and Sprinkler Price List Effective January 1, 2025
PIPE STABILIZER
Pipe Stabilizers are used between the sprinkler heads to control the movement of the pipe. The vinyl covered double "J" secures pipe to ground. The verticle striking area provides good penetration of even the toughest soils and minimizes the above ground exposure. Since the hammer does not touch the rounded area of the "J" hook, damage is avoided.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
PS 18 | 18" Pipe Stabilizer | 5 | 30 | 46 lbs. | 9.15
SPRINKLER STABILIZER
Sprinkler Stabilizers are used to secure pipe and sprinkler heads to prevent movement, vandalism and damage. The vinyl covered double "J" secures the pipe to the ground and the steel shaft at the top gives the sprinkler head additional support. Allows good penetration even in tough soils. No more broken pipes from hammers slipping off rounded striking areas.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
SS 24 | 24" Sprinkler Stabilizer | 5 | 20 | 35 lbs. | 10.9
SPRINKLER TIES
Sprinkler Ties are used to secure the spinkler to the Spinker Stabilizer. The unique design allows fast installation and produces a strong bond between the stake and the sprinkler head.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
ST 9 | 9" Sprinkler Tie for Shrubs | 50 | 500 | 13 lbs. | 1
RATCHET TOOL
Ratchet Tool is used to install Sprinkler Ties. It twists the Sprinkler Tie tightly against the stake, which reduces labor by 50% or more.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
RT | Sprinkler Tie Installation Tool | 1 | 1 | 1 lb. | 95
CINCH-TIETM
Cinch-Tie™ is used to effectively single or double stake a tree. Made from strong, flexible vinyl with UV inhibitors.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
CT 24 | 24" long for staking of 5-15 gallon trees | 100 | 500 | 38 lbs. | 1.1
CT 32 | 34" long, for staking of 24" box tree | 100 | 500 | 50 lbs. | 1.45
TWIST-BRACETM
Twist-Brace™ is used in high wind conditions. The steel loop is covered with quality vinyl tubing. Reusable, fast and easy to install.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
TB 24 | 24" long, for staking 5-15 gallon to 24" box trees | 5 | 25 | 35 lbs. | 11.6
TB 36 | 36" long, for staking 24" - 36" box trees | 5 | 10 | 26 lbs. | 23.25
HOSE & WIRE
Hose & Wire is made from quality hose and 12 gauge galvanized wire, precut in 27", 36" or 48" lengths. Convenient and econimcal to use.
Part Number | Description | Bundle Qty. | Order Qty. | Box Weight | Price(ea)
HW 36 | 36" long, for staking 24" box trees | 100 | 200 | 65 lbs. | 1.15